## Worksheet
skos:prefLabel | skos:altLabel | skos:notation | skos:definition | vann:usageNote | skos:scopeNote | conceptStatus | conceptSource | conceptURI | conceptSchemeTitle | conceptSchemeType
Electron Microrprobe |  |  | Within a given sample, once the X-ray intensities of each element of interest are counted in a detector at a specific beam current, the count rates are compared to those of standards containing known values of the elements of interest. Counting is typically done using wavelength-dispersive spectrometry. In turn, the X-ray intensities must be corrected for matrix effects associated with atomic number (Z), absorption (A) and fluorescence (F). This correction procedure is performed within a computer program that takes the raw counting rates of each element, compares these to standards, computes the ZAF correction (or similar type of correction) and displays the results as a function of the weight % of the oxides or elements. (https://serc.carleton.edu/research_education/geochemsheets/wds.html) |  |  | Stable |  | https://w3id.org/geochem/1.0/analyticalmethod/quantitativeanalysiselectroninducedxrayspectrometry | Mineralogical Analysis Protocols | Vocabulary
Elemental Analysis Mass Spectrometry |  |  | Mass spectrometry method that uses an elemental analyzer (typically a pyrolysis process to extract volatile components in the sample) to extract the aliquots (typically as gas) to be atomized and passed to the mass analyzer. |  |  | Stable |  | https://w3id.org/geochem/1.0/analyticalmethod/elementalanalysismassspectrometry | Mineralogical Analysis Protocols | Vocabulary
Energy Dispersive Electron Induced X-Ray Spectrometry (TEM-EDS) |  |  | Analysis of X-ray spectra generated by electron beam excitation using a Transmission electron microscope instrument |  |  | Stable |  | https://w3id.org/geochem/1.0/analyticalmethod/energydispersiveelectroninducedxrayspectrometry | Mineralogical Analysis Protocols | Vocabulary
Inductively Coupled Plasma Mass Spectrometry |  |  | Mass spectrometry technique in which the sample is introduced into an inductively coupled plasma to atomize and ionize the sample for inlet to mass analyzer. Components: 1) sample processing- dissolution, isotope dilution; 2) ionization: Inductively coupled plasma |  |  | Stable |  | https://w3id.org/geochem/1.0/analyticalmethod/inductivelycoupledplasmamassspectrometry | Mineralogical Analysis Protocols | Vocabulary
Laser Ablation Mass Spectrometry |  |  | Mass spectrometry technique in which a laser beam is focused on a spot on the sample surface to atomize sample material from that spot, for subsequent introduction in to inductively coupled plasma to ionize for inlet into mass analyzer. Components 1) sample prepartion: polished surface 2) ionization: laser, inductively coupled plasma. Point analysis. |  |  | Stable |  | https://w3id.org/geochem/1.0/analyticalmethod/laserablationinductivelycoupledplasmamassspectrometry | Mineralogical Analysis Protocols | Vocabulary
Mass Spectrometry |  |  | Study of matter through the formation of gas-phase ions that are characterized using mass spectrometers by their mass, charge, structure, and/or physico-chemical properties. (Source: IUPAC; https://doi.org/10.1351/PAC-REC-06-04-06). Atomic mass spectrometric analysis involves: (1) atomization, (2) conversion of a substantial fraction of the atoms formed in step 1 to a stream of ions (usually singly charged positive ions), (3) separating the ions formed in step 2 on the basis of their mass-to-charge ratio (m/z), where m is the mass number of the ion and z is the number of fundamental charges that it bears, and (4) counting the number of ions of each type or measuring the ion current produced when the ions formed from the sample strike a suitable transducer. (Skoog, Holler & Crouch, p. 253). Molecular mass spectrometry is used to determine the structures of inorganic, organic, and biological molecules and the qualitative and quantitative composition of complex mixtures; The appearance of mass spectra for a given molecular species strongly depends on the method used for ion formation. That these methods fall into three major categories: gas-phase sources, desorption sources, and ambient desorption sources. (Skoog, Holler & Crouch, p. 502) |  |  | Stable |  | https://w3id.org/geochem/1.0/analyticalmethod/massspectrometry | Mineralogical Analysis Protocols | Vocabulary
Wet Chemistry |  |  | Wet chemistry is a form of analytical chemistry that uses classical methods such as observation to analyze materials. It is called wet chemistry since most analyzing is done in the liquid phase. (https://en.wikipedia.org/wiki/Wet_chemistry) |  |  | Stable |  | https://w3id.org/geochem/1.0/analyticalmethod/wetchemistry | Mineralogical Analysis Protocols | Vocabulary
X-Ray Fluorescence Spectrometry |  |  | Primary X-rays are used to excite (fluoresce) X-rays that are emitted from the specimen. A fused disc or pressed pellet is used for the determination of major element concentrations or trace element abundances in a bulk specimen. The X-ray detector utilizes a set of diffracting crystals specially positioned to detect one characteristic X-ray at-a-time. This sequential measurement of X-rays is termed Wavelength Dispersive Spectroscopy (WDS). Additional information available at http://www.nmnh.si.edu/minsci/labs/xrf.htm. Measurement method of X-ray fluorescence used to measure amounts of elements in a material. (Source: IUPAC; https://doi.org/10.1515/pac-2019-0302) |  |  | Stable |  | https://w3id.org/geochem/1.0/analyticalmethod/xrayfluorescencespectrometry | Mineralogical Analysis Protocols | Vocabulary
Raman Spectrometry |  |  | Measurement principle of molecular spectroscopy based on Raman scattering. (Source: IUAPC; https://iupac.org/wp-content/uploads/2019/10/PAC-REC-19-02-03.R2_PR191002MC.pdf). Raman spectroscopy is commonly used in chemistry to provide a structural fingerprint by which molecules can be identified. This technique uses a source of monochromatic electromagnetic radiation to interact with molecular vibrations, phonons or other excitations in the analyzed sample resulting in the energy of the incident photons being shifted up or down. The light source is typically a laser in the visible, near infrared, or near ultraviolet range, although X-rays can also be used. The shift in energy from the incident source gives information about the vibrational modes in the analyzed sample. Electromagnetic radiation from the illuminated spot is collected with a lens and sent through a monochromator. Elastic scattered radiation at the wavelength corresponding to the incident excitation is filtered out, while the rest of the collected light is dispersed onto a detector. |  |  | Stable |  | https://w3id.org/geochem/1.0/analyticalmethod/ramanspectrometry | Mineralogical Analysis Protocols | Vocabulary
Single Crystal X-Ray Diffraction |  |  | Single-crystal X-ray Diffraction is a non-destructive analytical technique which provides detailed information about the internal lattice of crystalline substances, including unit cell dimensions, bond-lengths, bond-angles, and details of site-ordering. X-ray diffraction is based on constructive interference of monochromatic X-rays and a crystalline sample. These X-rays are generated by a cathode ray tube, filtered to produce monochromatic radiation, collimated to concentrate, and directed toward the sample. The interaction of the incident rays with the sample produces constructive interference (and a diffracted ray) when conditions satisfy Braggs Law (n*lambda=2d*sin(theta)). This law relates the wavelength of electromagnetic radiation to the diffraction angle and the lattice spacing in a crystalline sample. These diffracted X-rays are then detected, processed and counted. By changing the geometry of the incident rays, the orientation of the centered crystal and the detector, all possible diffraction directions of the lattice should be attained. Single-crystal diffractometers use either 3- or 4-circle goniometers. These circles refer to the four angles (2*theta, chi, phi, and omega) that define the relationship between the crystal lattice, the incident ray and detector. Samples are mounted on thin glass fibers which are attached to brass pins and mounted onto goniometer heads. Adjustment of the X, Y and Z orthogonal directions allows centering of the crystal within the X-ray beam. Single-crystal X-ray diffraction is most commonly used for precise determination of a unit cell, including cell dimensions and positions of atoms within the lattice. (https://serc.carleton.edu/research_education/geochemsheets/techniques/SXD.html) |  |  | Stable |  | https://w3id.org/geochem/1.0/analyticalmethod/singlecrystalxraydiffraction | Mineralogical Analysis Protocols | Vocabulary
X-Ray Powder Diffraction |  |  | X-ray powder diffraction (XRD) is a rapid analytical technique primarily used for phase identification of a crystalline material and can provide information on unit cell dimensions. The analyzed material is finely ground, homogenized, and average bulk composition is determined. The geometry of an X-ray diffractometer is such that the sample rotates in the path of the collimated X-ray beam at an angle theta while the X-ray detector is mounted on an arm to collect the diffracted X-rays and rotates at an angle of 2*theta. The instrument used to maintain the angle and rotate the sample is termed a goniometer. For typical powder patterns, data is collected at 2theta from ~5degree to 70degree, angles that are preset in the X-ray scan. X-ray powder diffraction is most widely used for the identification of unknown crystalline materials (e.g. minerals, inorganic compounds). (https://serc.carleton.edu/research_education/geochemsheets/techniques/XRD.html) |  |  | Stable |  | https://w3id.org/geochem/1.0/analyticalmethod/xraypowderdiffraction | Mineralogical Analysis Protocols | Vocabulary
X-Ray Diffraction |  |  | Measurement method using diffraction of X-radiation to obtain the spatial arrangement of atoms in a crystalline sample. X-ray diffraction is based on constructive interference of monochromatic X-rays and a crystalline sample. These X-rays are generated by a cathode ray tube, filtered to produce monochromatic radiation, collimated to concentrate, and directed toward the sample. The interaction of the incident rays with the sample produces constructive interference (and a diffracted ray) when conditions satisfy Braggs Law (n*lambda=2d*sin(theta)). This law relates the wavelength of electromagnetic radiation to the diffraction angle and the lattice spacing in a crystalline sample. These diffracted X-rays are then detected, processed and counted. By changing the geometry of the incident rays, the sample, and the detector, all possible diffraction directions of the lattice should be attained.(https://serc.carleton.edu/research_education/geochemsheets/techniques/XRD.html) Copper K-a radiation (l = 0.15406 nm, E = 8.04 keV) is typically used for routine XRD. (Source: IUPAC; https://doi.org/10.1515/pac-2019-0302). Technique based on observing the scattered intensity of an X-ray beam hitting a sample as a function of incident and scattered angle, polarization, and wavelength or energy where the scattering is elastic and the scattering object is crystalline, so that the resulting pattern contains sharp spots analyzed by X-ray crystallography. (https://en.wikipedia.org/wiki/X-ray_scattering_techniques) |  |  | Stable |  | https://w3id.org/geochem/1.0/analyticalmethod/xraydiffraction | Mineralogical Analysis Protocols | Vocabulary